# PART 1 - GENERAL

1.1	RELATED SECTIONS:

Refer to Section 02200 for the requirements regarding the University Utility Locate process.

Refer to Section 02900 for requirements regarding the protection of landscaping during construction and the restoration of landscaping features upon construction completion.

1.2	SCOPE OF SECTION:

This section contains the requirements relating to subsurface investigation.

1.3	GEOTECHNICAL SERVICES:

Whenever it is planned to construct a new building or structure, renovate an existing building or structure such that significant changes in foundation loading occur, perform major cut and/or fill operations, engage in an extensive trenching operation, or build a retention pond, geotechnical services are required as part of testing services in a project.  This testing service shall be coordinated with Project Manager.

The site shall be returned to the same condition as prior to testing.  Upon completion of the testing, the Contractor is responsible for any and all expenses associated with the repair of damage caused by the testing and is responsible to fully restore all landscape features such as pavement markings, turf, mulch, trees, shrubs, curbs, sidewalks, roads and irrigation to original condition.

END OF SECTION