PART 1 - GENERAL

1.1	RELATED SECTIONS:

1.2	SCOPE OF SECTION:

This section contains the requirements for the specification and installation requirements for directories or bulletin boards.

PART 2 - PRODUCTS

2.1	Bulletins Boards & Display Cases:

- All departmental and student bulletin boards or display cases that are installed in public lobbies, corridors or any designated emergency exit paths must be fully enclosed and securable by lock.  Installation locations must not impede on the designated exit width for any emergency exit paths.  Wall mounted boards/cases must comply with the requirements of the ADA Guidelines.  Floor mounted boards/cases must be secured to the wall or floor so they can not fall or move to block a designated emergency exit path.  Any lighted cases must be circuited separately from public lighting, and provided with T5 fluorescent lamps.

- Installation locations must not impede on the designated exit width for any emergency exit paths.

PART 3 - EXECUTION

END OF SECTION