Campus Operations is responsible for the operation, maintenance, and renovation of the educational buildings, utilities, and grounds of the East Carolina University campus.  As such, Campus Operations  requires construction that is complete, durable, easily maintained, energy efficient, and compatible with existing and planned systems.  These Standards express the requirements of Campus Operations  in the different construction areas and are intended as a guide for the Design Professional in developing project designs.

These Standards are written from the viewpoint of Campus Operations  and generally name Facilities Engineering and Architectural Services as the entity representing East Carolina University in administering the design and construction of University facilities.  In instances where this is not the case, such as when University entities other than Campus Operations  use these Standards as a guide in designing construction projects, the user of these Standards should substitute the name of the appropriate University entity responsible for administering the construction project.

For ease of reference, the Standards generally adhere to the format of the Construction Specifications Institute's (CSI) "Master List of Titles and Numbers for the Construction Industry" (1988 Edition).  However, because Campus Operations  has no specific requirements relating to many of the sections contained in the CSI specifications, only certain sections from the CSI "Master List" are included in these Standards.

Also included in these Standards are various design-related policies, procedures, and guidelines that do not appropriately fit under any of the section or division headings of the CSI format.  To include this information within these Standards in an organized manner, a separate division was created following the Introduction and titled "General Design Guidelines."

Not included (physically) within these Standards are the numerous specification sections issued separately as the Facilities Services' "Non-Technical Specifications."  These sections are listed in the preceding Table of Contents within boxes under the Divisions 0 and 1 headings.  Although considered part of these Standards for minor monies projects administered by Campus Operations, the Facilities Services’ Non-Technical Specifications are not in universal use on University construction projects and are, therefore, not always considered as included in these Standards.  The Design Professional, or other user of these Standards, should consult with the University entity responsible for a project regarding the appropriate Division 0 and Division 1 sections that apply to the project.

These Standards are not intended to be a complete specification in any of the areas addressed.  Compliance with these Standards shall in no way constitute a waiver of liability of the Design Professional.

These Standards are general in nature; specific site conditions, code requirements or regulations may warrant a deviation from the Standards.  In these cases, the Project Manager should be notified before proceeding with the design.