## GENERAL

The potential for damage as the result of hurricane or tornado is not as great on Health Sciences Campus as it is elsewhere.  Structural stability of the Brody Building is such that damage would primarily be confined to broken glass and wind damage due to airborne projectiles.

It is Grounds Services responsibility to ensure that trashcans, benches, containers, etc. that might become projectiles in high wind are appropriately secured when a hurricane or tornado watch is issued in the immediate area.  It is the Project Manager’s responsibility to ensure that contractors with construction on the Health Sciences Campus have secured any potential flying objects during any type of weather advisory.

## PROCEDURE

In the event of hurricane or tornado activity, the following procedures shall be followed:

- Upon notification of a severe weather watch, Grounds Services shall

- Secure trashcans, benches, and containers in such a way that they cannot become projectiles.

- Check campus area for any construction material that might become airborne and notify the appropriate Project Manager to contact the contractor.  For contract jobs, primary responsibility remains with the contractors.

- Make sure all storm drains are clear.

- Make sure all vehicles are filled with fuel and ready for operation.

- Make sure all blowers and chain saws are ready for operation.

- After an event, Grounds Services shall

- Make sure that the School of Medicine's portion of Emergency Road is accessible.

- Clear access into all patient care areas.

- Assess other areas and begin clean up.

- After work on Health Sciences Campus is complete, Grounds Services shall contact Main Campus to provide assistance.

- Upon notification of a severe weather threat, Housekeeping Services personnel shall

- Turn off all unnecessary lighting and secure all windows and doors, locking when appropriate

2.	Stage water pick-up equipment for immediate use and prepare	emergency supplies for rapid distribution.

- The Plumbing Supervisor shall set up the Comparative Medicine emergency tank (stored in Bilbro Warehouse) to provide water for animals at Brody and check roof drains to be sure none are clogged.

- The HVAC Supervisor shall adjust air-handling units to produce maximum negative internal pressures in buildings with membrane roof systems to protect the roof.  These include Biotech, Leo Jenkins Cancer Center, and Health Sciences Library.

- The Building Trades Supervisor shall inspect roofs, doors, and exteriors of buildings for security and loose material and secure these areas.