# GENERAL

Loss of electrical power on the Health Sciences Campus automatically activates and switches the emergency generator system for the affected area.

# PROCEDURE

  - ECU Police Department shall notify Facilities Maintenance immediately upon the loss of power or starting of a generator.  After hours they shall call the electrician on-call.

  - The Electrical Shop shall monitor the operation of the generator and top off the fuel day tanks as needed.

  - The Electrical Shop shall determine the cause of the interruption and take steps to restore power as quickly as possible.

  - If the loss of power is from Greenville Utilities Commission (GUC), the Electrical Shop will contact the GUC dispatcher at 752-7166 to determine the expected duration of the outage, and report to the Director, Facilities Maintenance - Health Sciences Campus.

  - If the outage is expected to last more than four hours, the Electrical Shop shall notify ECU Police Department to call in departmental representatives for assistance.

  - The Electrical Shop shall monitor the emergency power system to insure that life safety functions are maintained.  The emergency outlet circuit will be energized only if the load can be managed to prevent overload on the generators.

  - Announcements will be made on the Brody fire alarm PA system to inform occupants of the expected duration of the outage.