# GENERAL

  - Facilities on the Health Sciences Campus contain mechanical systems that must operate 24 hours a day.  Failure of these systems can adversely affect faculty, staff, and students, causing damage to property or research, or possibly causing an injury.  With qualified staff on-call and the appropriate on-call procedures, Facilities Services is prepared to respond to mitigate the consequences of such failures outside of regular working hours.

  - On-call service should not be confused with emergency service.  On-call services are any service provided outside assigned work hours.  An emergency does not have to be involved.

  - The level of service to be provided utilizing on-call personnel will vary based on the customer’s needs and the situation.

### RESPONSIBILITIES

- The Director of Facilities Services for the Health Sciences Campus is responsible for the overall administration of the on-call program.  Each Shop Supervisor shall establish and maintain on-call lists for their shop.  Facilities Services Assistant Director – Grounds Services is responsible for establishing and maintaining on-call lists for Grounds Services.

- ECU Police – Health Sciences Campus has the responsibility for contacting on-call personnel for issues reported to their office.  The on duty Boiler Operator is also responsible for contacting the on-call personnel either at the request of ECU Police or as warranted, based on alarms reported through the building automation systems or personal observation.

- All Facilities Services Trades (FST) employees are subject to being scheduled for on-call service.

- The Grounds Supervisor and crew leader assigned to Health Sciences Campus shall be scheduled for Health Sciences Campus on-call service.

- FST employees on-call are responsible for being available for contact and responding to callback.

- All FST employees who are contacted for callback, whether on-call or not, are expected to show reasonable diligence in responding.

- All FST employees who are contacted for callback in response to critical (RED) alarms related to the Building Automation Systems or alarms associated with the Fire Alarm/Detection Systems - regardless of whether the alarm goes from active to inactive or clears – are expected to arrive on campus and confirm that the issue is resolved.

#### PROCEDURE

  - The following FST shops shall have personnel on-call: Building Trades, Controls, Electrical, HVAC, Plumbing, and Grounds.  The Steam Plant Mechanic will be scheduled for on-call service, as needed.

  - New employees shall not be scheduled for on-call duty alone until they have reached the necessary level of proficiency as determined by the Supervisor or Assistant Director.

  - The Shop Supervisors shall be responsible for establishing an equitable on-call schedule for each shop, based on the number of available personnel.  Supervisors shall avoid scheduling FST employees for on-call duty during any periods for which they are scheduled to be out on leave.

  - If an FST employee scheduled for on-call duty is unable to report to work during normal business hours for an unforeseen circumstance:  The Supervisor, at his/her discretion, may allow the FST employee scheduled for on-call duty to remain on-call provided that he/she will be available to respond to a callback after normal business hours and are made aware of any activities that occurred during normal business hours that could affect his/her ability to respond to a callback.  If this unforeseen circumstance will prevent the FST employee scheduled for on-call duty from reporting for work the next scheduled workday, the Supervisor shall arrange for another individual to be on-call the remainder of the week or until the employee can return to work during normal business hours.  This is to insure that there is continuity in awareness of activities that occurred during normal business hours that could affect the ability of the FST employee scheduled for on-call duty to respond to an issue after hours.  An example could be: A VFD for a pump is taken out of automatic and placed in manual and set at 40Hz because of a failed sensor.  A new sensor has been ordered and will be installed the following day.  If it causes issues during the night the on-call person should increase the freq to 50Hz.

  - If a FST employee scheduled for on-call duty is out on unscheduled leave at the same time, the employee will not be compensated for on-call duty for the lunch/break period.  The timekeeper shall bring any overlaps of on-call duty and time out on leave to the attention of the appropriate Assistant Director, to review with the appropriate Supervisor to correct.

  - The Director of Facilities Services for the Health Sciences Campus shall establish on-call lists each quarter for the following quarter. The Facilities Services Office distributes them by the beginning of the quarter.  Each list will include a copy of this FSSP.

  - Distribution shall be to ECU Police – Health Sciences Campus, Shop Supervisors, Facilities Services Office, Comparative Medicine, Housekeeping Services, Facilities Service Center - Main Campus, and Human Resources.  The Facilities Services Office will include in the distribution a copy of the FACILITIES SERVICES EMERGENCY CONTACT LIST.

  - Supervisors shall be responsible for maintaining the on-call lists, revising lists as necessary to maintain accuracy, and forwarding the revised on-call lists to the office of the Director of Facilities Services for the Health Sciences Campus for distribution.

  - The Supervisors shall notify the Assistant Directors, Director, and ECU Police – Health Sciences Campus of short-term changes i.e. when the on-call employee is sick and is replaced for a few days, etc.

  - Normally, ECU Police – Health Sciences Campus shall make contact with on-call staff.  The Steam Plant is also responsible for calling personnel as described above.

  - The FST employee on-call shall respond to the contact within 10 minutes.

  - Contact procedure shall be as follows:

- Building Trades, Controls, Electrical, HVAC, Plumbing, and Steam.

      - Call home phone of the FST employee on-call first; if an answering machine or voice mail picks up, leave a message describing the problem, stating the time of the call, and the name and phone number of the caller.

      - If no answer or voice mail answer (an answering machine or voice mail does not constitute an answer), call pager;

      - If no response within 10 minutes, repeat steps a. and b.

      - If no response within the next 10 minutes, call/page in the following order until you are able to contact someone):

- Shop Supervisor(s)

- Assistant Director, Facilities Services or Utilities Services – Health Sciences Campus

- Director, Facilities Services – Health Sciences Campus

- Senior Associate Vice Chancellor for Campus Operations

Note: Refer to the FACILITIES SERVICES EMERGENCY CONTACT LIST.

- See COSP 100-0063.2, Health Sciences Campus Elevator and Elevator Entrapment Response for procedures to contact the on-call electrical technician and elevator maintenance contractor when there is an elevator problem and/or persons are trapped on an elevator

    - Grounds

      - Page the FST employee on-call;

      - if no response within 10 minutes, repeat the page;

      - Call home phone of the FST employee on-call; if an answering machine or voice mail picks up, leave a message describing the problem, stating the time of the call, and the name and phone number of the caller.

      - if no response within the next 10 minutes, call/page (in order until you are able to contact someone):

- Assistant Director, Grounds Services

- Executive Director, Facilities Services

- Associate Director, Facilities Service Center

- Senior Associate Vice Chancellor for Campus Operations

Note: Reference the FACILITIES SERVICES EMERGENCY CONTACT LIST.

- Each FST employee on-call shall ensure that they are available for contact by at least one of the means available (home phone or pager) at all times.  The FST employee on-call shall check equipment as often as necessary when away from home to ensure that they are in the pager’s service area. The FST employee on-call shall keep their pager on them when they are called back to Campus in case they need to be contacted again.

- If the FST employee on-call has an answering machine or voice mail message from the Steam Plant or ECU Police – Health Sciences Campus, he/she shall return the call immediately.

- If the Steam Plant or ECU Police – Health Sciences Campus is unable to contact the FST employee on-call and must contact Supervisor(s), etc. as instructed in III.L above. The Steam Plant or ECU Police – Health Sciences Campus shall report the incident to the Director of Facilities Services for the Health Sciences Campus the next workday.  Faxing a copy of the Operations Report with an explanation of the problem to the Director.  Facilities Services will investigate the situation to determine corrective action to eliminate the cause of the problem.  Facilities Services may request additional information such as a copy of the Voice Log tape.  The Director shall report any failed contact to the Senior Associate Vice Chancellor for Campus Operations.

- The FST employee on-call shall arrive at the Health Sciences Campus within driving time plus 15 minutes from the time contacted.  Response time shall not exceed one hour.  For responses during the normal workday, the response time to the incident site shall be within 15 minutes from the time contacted.

- The FST employee on-call shall give the Steam Plant or ECU Police – Health Sciences Campus an estimated time of arrival on Campus and shall notify them when they arrive.  The FST employee on-call shall notify the Boiler Operator and ECU Police – Health Sciences Campus when leaving Campus.  The FST on-call employee shall carry their Facilities Services radio while on Campus when called back.

- If the FST employee on-call needs assistance from another member of Facilities Services including Housekeeping Services, the FST employee on-call can make the contact himself/herself or request the ECU Police – Health Sciences Campus make contact for them.  If the FST employee on-call needs assistance from Facilities Services management, the FST employee on-call would normally call, in order, the Shop Supervisor, Assistant Director, Director, and Senior Associate Vice Chancellor for Campus Operations.  In an urgent or emergency situation, the FST employee on-call is authorized to make contact with ECU Police, other Facilities Services staff, Housekeeping Services, and Facilities Services management as necessary.

- A FST employee on-call performing call-back work shall wear their uniform shirt and carry their University ID, unless compliance would significantly delay response time.

- When two or more employees of a specific trade are working routine scheduled overtime, one may be the on-call employee for that shop.  An on-call employee may work routine scheduled overtime single-handedly if the Shop Supervisor determines that the work can be stopped easily to respond to a callback.

- Each shop shall maintain a log (Form FS-001) of calls to on-call employees including those that do not result in a callback.  The FST employee on-call shall make entries on the workday following the occurrence. The FST employee on-call shall document assistance provided by a Facilities Services employee not on-call in person or over the phone.  A copy of the log is to be turned in to the appropriate Assistant Director at the end of each month.  If there were no call-backs, the log shall be marked “None.”

- The Executive Director, Facilities Services shall maintain and distribute the FACILITIES SERVICES EMERGENCY CONTACT LIST.  Distribution shall be to the Vice Chancellor for Administration and Finance, ECU Police, and personnel on the list.

- Compensation for on-call and callback shall be in accordance with ECU Human Resources Policy Statement 9: Salary Administration; NC Office of State Personnel, PERSONNEL MANUAL, SECTION No. 4, Page Number 50.1, on-call compensation; and FSSP 41-0001, PAYROLL COMPENSATORY TIME.

- Per the above referenced policies, time spent on the phone that does not result in a call-back is not work time with the exceptions outlined below.  Conversely, time spent by the employee doing what they would normally do anyway (e.g. sleeping at home) is covered by on-call pay.

# Responding to Call-back by Interfacing with Building Automation Systems via Remote Computer Input:

Time on callback shall begin when the employee is notified of the callback situation and shall end when the work is completed.  The employee shall be paid for the actual time worked.  The employee is not guaranteed a minimum of two hours pay unless the employee physically returns to the campus.

# Responding to Call-back by Interfacing with Building Automation Systems via Remote Computer Input and Returning to the Work Site:

If the employee was unable to complete the work via remote computer input and the employee must return to the work site to complete the work, the time on call-back shall begin when the employee was notified of the call-back situation and shall end when the emergency work is completed.   Time on call-back shall include the time the employee was signed on the Building Automation System trying to complete the work via remote computer input.  The employee shall be guaranteed a minimum two hours pay.

- Work from Home Phone Support (WFHPS)

Work from Home Phone Support (WFHPS) refers to a situation when a Facilities Services employee not on-call is contacted and provides assistance on the phone to a FST employee on-call. The employee who was called has the responsibility for claiming time, if appropriate, on his/her timesheet.  In addition to indicating the amount of time claimed for WFHPS, the employee who was called shall indicate “WFHPS req. name of employee on-call who called re brief description of information requested or reason for call” on his/her timesheet.  The Supervisor is responsible for reviewing the request for compensation, determining if phone support was warranted, and approving compensation for WFHPS.  In general, short duration calls will not be approved for compensation.

- It is the responsibility of the Facilities Services employee and Supervisor to report callback related time during the pay period in which it occurs.

- Refer to Parking & Transportation Services Standard Practice P&TSP 200-0080 titled Parking Exceptions for Personally Owned Vehicles at Facilities Services Locations for information regarding parking ECU permitted personally owned vehicles in service/maintenance vehicle parking spaces.

  - ON-CALL SCHEDULE

    - The FST employee on-call shall be available to respond to on-call service 7 days a week (normally from Monday at 8:00 am to Monday at 8:00 am but this time may vary for such exceptions as the incinerator for example) during times that normal service is not available including breaks and lunch on regularly scheduled workdays.  If the FST employee on-call is leaving campus for lunch, it is recommended that the FST employee on-call’s lunch period be staggered with the regularly scheduled lunch break observed by the majority of the shop.  If the FST employee on-call is leaving campus for lunch, the FST employee on-call shall obtain his/her Supervisor’s approval to take lunch before or after the regularly scheduled lunch break observed by the majority of the shop.   If the FST employee on-call does not respond during lunch on a regularly scheduled workday, the party trying to reach the FST employee on-call shall report the incident to the appropriate Assistant Director, no later than the next workday.  Facilities Services will investigate the situation to determine corrective action to eliminate the cause of the problem.  The Assistant Director shall report any failed contact to the Director of Facilities Services for the Health Sciences Campus and the Senior Associate Vice Chancellor for Campus Operations.

    - Exceptions

      - Monday holiday:

When Monday is a holiday, the on-call service is 8 days meaning the FST employee on-call shall remain on-call through Tuesday at 8:00 am.  If Tuesday is a holiday, the FST employee on-call shall receive a minimum of two hours pay for the employee’s return to campus for passing the on-call responsibility on Tuesday.

      - On-call lists specifying individual weeks will document such exceptions to the on-call service schedule.  To assist the ECU Police, holiday dates will be highlighted on the list.

    - Changes to the schedule shall be handled in accordance with Section III.C.  Short-term changes require prior approval of Supervisor.  Communicating the change or Director and shall be handled in accordance with Section III.G.