- GENERAL

Facilities Services – Paint Shops are responsible for performing or contracting routine painting of University facilities.  Routine painting does not include painting that is capital or R&R funded.

- PURPOSE

  - The purpose of this FSSP is to outline procedures associated with routine painting of University property on Main or East Campus.

  - For the purpose of this FSSP, a department, individual, etc. other than Facilities Services – Paint Shop shall be referred to as “department”.  The Main Campus Facilities Services – Paint Shop shall be referred to as “Paint Shop”.

- PROCEDURE

  - Painting in common or public contact areas

    - No department other than Paint Shop may paint or contract for painting of common or public contact areas.  Only the Paint Shop may paint common or public contact areas.  A department may submit a work order to the Paint Shop requesting painting in common or public contact areas.

  - Painting of other University property on Main or East Campus

    - All requests for painting of University property on Main or East Campus must be submitted in a work order to the Paint Shop.

    - Painting of University property by a department other than Paint Shop requires the prior approval of the Paint Shop Supervisor and Assistant Director, Building Services.  The department shall submit a work order to the Paint Shop.  Paint Shop Supervisor and Assistant Director, Building Services shall review location, type of paint, color, quality of paint, and proper surface preparation including pressure washing, scraping, sanding, cleaning, priming, etc.

    - If the painting of a University facility by a department other than Paint Shop is approved, department shall be required to use standard University colors and quality of paint specified by Paint Shop and follow surface preparation instructions provided by Paint Shop Supervisor.

    - Although Paint Shop may assist department with paint type selection and a vendor who supplies the product, Facilities Services shall not supply paint, brushes, or other paint supplies.

    - The Paint Shop Supervisor shall inspect the site periodically.  Upon completion of the work, department shall contact the Paint Shop Supervisor to perform a final inspection to determine if work meets University standards.  If the work does not meet University standards, the department shall be required to repeat the work as needed or pay to have it done properly.

  - Athletic Facilities

    - Painting in common or public contact areas in athletic facilities

      - Athletics shall not paint common or public contact areas in athletic facilities.  Only the Paint Shop may paint common or public contact areas in athletic facilities.  Athletics may submit a work order to the Paint Shop requesting painting in common or public contact areas in athletic facilities.

    - During the third quarter, Paint Shop shall identify locations in athletic facilities that need to be painted.  Facilities Services shall review list and estimated costs with Athletics.  Paint Shop shall specify type of paint and proper surface preparation including pressure washing, scraping, sanding, cleaning, priming, etc. to meet University standards to be used and followed by Athletics.

    - Student employees may only be used for latex based painting.

    - Structural steel and surfaces that require moisture cured urethanes or other two-part finishes require surface preparation and correct application of the material.  This type of paint system requires skills beyond the capability of most inexperienced painters. Athletics shall contract painting on structural steel and surfaces that require specific surface preparation to a professional painting contractor.  Paint and contract specifications must be approved by Paint Shop.

    - Whether Athletics uses student employees or not, Athletics shall use standard University colors and quality of paint specified by Paint Shop and shall follow surface preparation instructions provided by Paint Shop Supervisor.

    - Although Paint Shop may assist Athletics with paint type selection and a vendor who supplies the product, Facilities Services shall not supply paint, brushes, or other paint supplies.

    - The Paint Shop Supervisor shall inspect the site periodically.  Upon completion of the work, Athletics shall contact the Paint Shop Supervisor to perform a final inspection to determine if work meets University standards.  If the work does not meet University standards, Athletics shall be required to repeat the work as needed or pay to have it done properly.

## Residence Halls

    - Students are funded by Campus Living to perform painting in Residence Halls.  These students shall be interviewed and hired by the Paint Shop Supervisor.  These students shall be supervised by Paint Shop personnel.