- PURPOSE

The purpose of this FSSP is to outline procedure to close the freshman parking lot, Curry Court near Belk Allied Health Building.

- GENERAL

To conserve utilities and maintenance resources, the freshman parking lot, Curry Court near Belk Allied Health Building, is taken out of service following Spring semester commencement and returned to service before Fall semester move-in weekend.

- PROCEDURES

- Out of Service

  - The freshman parking lot, Curry Court near Belk Allied Health Building, shall be taken out of service on the first Monday following Spring semester commencement.

  - Facilities Services shall lock out all lights.

  - Facilities Services shall coordinate the out of service with Parking and Transportation Services.

- Return to Service

  - The freshman parking lot, Curry Court near Belk Allied Health Building, shall be returned to service on the Monday before Fall semester move-in weekend.

  - Facilities Services shall remove lock out devices.

  - Facilities Services shall coordinate the return to service with Parking and Transportation Services.

- Annual PM work orders will be issued to the Electrical shop to take the lights out of service and return them to service.