- PURPOSE

The purpose of this plan is to optimize energy conservation while maintaining adequately conditioned space.

- HVAC OPERATING SCHEDULE

The following schedule represents the time that each air-handling unit (AHU) shall condition its corresponding space:

AHU	SCHEDULE

All	** 24hrs/day, 7 days/week **

- ENERGY OPERATING DESCRIPTION

  - ADI Building – Description

The ADI building is a single story building, which houses the offices of the Alumni Association. The building is approximately 4,775 sq ft and is served by 1 Lennox Unit, 1 Quatro Unit, and 3 split systems.

  - HVAC Supply

AHU#		Location	Area Served

Lennox-1	Outside	ADI Bldg

Quatro-2	Outside	ADI Bldg

Split-3		Outside	ADI Bldg

Split-4		Outside	ADI Bldg

Split-5		Outside	ADI Bldg

  - HVAC Control

The HVAC systems are controlled by standard thermostats and are not currently connected to the Johnson Controls Metasys System.

    - Thermostats

All AHU’s are controlled by standard thermostats, which are located in the controlled and conditioned area.

    - Set Points

Set points are adjustable at the thermostat.

    - Unoccupied Temperature Setback

These units are not equipped with any unoccupied features since they run 24hrs/day, 7 days/week.

    - Deck Control

N/A

  - Chilled Water Supply

N/A

  - Heating Water Supply

N/A

  - Special Operations/Instructions

There are no special operations associated with this building.