- PURPOSE

The purpose of this plan is to optimize energy conservation while maintaining adequately conditioned space.

- HVAC OPERATING SCHEDULE

The following schedule represents the time that each air-handling unit (AHU) shall condition its corresponding space:

AHU	SCHEDULE

All	** 24hrs/day, 7 days/week **

- ENERGY OPERATING DESCRIPTION

The Lakeside Annex Module 2 is a single story building that houses the Medical Records department. The building is approximately 1,344 sq ft and is temporary. There are no plans to implement any Energy Management policies with this building.