- PURPOSE

The purpose of this plan is to optimize energy conservation while maintaining adequately conditioned space.

- HVAC OPERATING SCHEDULE

The following schedule represents the time that each air-handling unit (AHU) shall condition its corresponding space:

AHU	SCHEDULE

All	** 24hrs/day, 7 days/week **

- ENERGY OPERATING DESCRIPTION

The Lakeside Annex Module 3 is a single story building that houses the Prospective Medicine/Radiation Safety departments. The building is approximately 2,016 sq ft and is temporary. There are no plans to implement any Energy Management policies with this building.