- PURPOSE

The purpose of this plan is to optimize energy conservation while maintaining adequately conditioned space.

- SYSTEM DESCRIPTION

Scott Residence Hall is a four-story dormitory.  The HVAC system is a four pipe system with fan coils in each room.

- AIR HANDLING UNITS

AHU#	RM#	Area Supplied	Area Description

- HVAC CONTROLS

  - SEQUENCE OF OPERATION

The HVAC system is controlled by an Invensys DMS-3500 system connected to the Ethernet and an Ultivist operator workstation at the Steam Plant for control and alarm monitoring.

    - The building is cooled with chill water, using an air-cooled chiller located outside of the building.  The chiller and chill water pumps are controlled by the BAS based on outdoor air temperature.

    - A tube and shell converter provides the heat with two circulator pumps staged by outdoor air temperature.  Temperature reset is utilized based on outdoor air temperature. This system is controlled by the BAS.

  - LOAD MANAGEMENT

There is no load management in this building.

- COOLING SYSTEM

The building is cooled with chill water, using an air-cooled chiller located outside of the building.  The chiller and chill water pumps are controlled by the BAS.

- HEATING SYSTEM

A tube and shell converter provides the reheat for the perimeter heat with two circulator pumps staged by outdoor air temperature.  Temperature reset is utilized based on outdoor air temperature. This system is controlled by the BAS.

- SPECIAL OPERATING INSTRUCTIONS