- PURPOSE

The purpose of this FSSP is to establish security procedures to ensure the security of the Health Sciences Campus Utilities Plant and well-being of the Facilities Services personnel operating the Steam Plant during off-hours, nights, weekends, and designated state holidays.

- PROCEDURES

- Steam Plant Operating Personnel Responsibilities:

- For purposes of this FSSP, a workday is defined as any Monday – Friday that is not also a State holiday.

- The Boiler Operator shall check all external plant doors hourly during off-hours.

- If the Boiler Operator finds an external door left opened or unlocked, he/she shall secure the door and record the incident, including the door location, date, and time, in the Operator’s log.  On the next business day the Steam Plant Supervisor or his/her designee shall inform the Director of Facilities Maintenance.

- The Boiler Operator shall call Brody Police on the hour during off-hours.  If the Brody Police do not receive this call by 5 minutes after the hour, they will call the Steam Plant.  If Brody Police are unable to make contact by phone, an officer will be dispatched to the Steam Plant to check on the Boiler Operator.

- The Boiler Operator will carry the portable phone with him/her at all times.  The phone is programmed to call Brody Police if any button is pressed.  The Boiler Operator will check the operation of the phone at the beginning of each shift by contacting Brody Police.

- Brody Police will make physical contact with the Boiler Operator at least twice during each shift during off hours.