- GENERAL

The purpose of this FSSP is to identify responsibilities and requirements for interior lights.

- RESPONSIBILITIES

  - Facilities Services has the following responsibilities:

    - Ongoing maintenance including major repairs and maintenance upgrades (not to be confused with operational upgrades).

    - Project management of construction and approval of lighting systems including coordination of operational impact.

# Requirements

# All lights out-of-service shall be repaired as soon as practical.

# Out-of-service lights in public traffic areas (foyer, lobby, and hallway) shall be repaired on the same work day if practical.

# Out-of-service lights in stairwells shall be repaired on the same work day if practical.  If a light in stairwell is anticipated to be out-of-service overnight, the Electrical Supervisor shall notify the ECU Police.

    - Housekeeping Services has the following responsibilities:

      - Report out-of-service lights in a timely manner. This is done routinely by entering a work order to Facilities Services, Utilities Services - Electrical Shop or Facilities Services, Health Sciences Campus, Electrical Shop.

  - ECU Police Department has the following responsibilities:

    - Make recommendations for new or improved lighting and coordinate with Facilities Services to determine fiscal priorities.

    - Report out-of-service lights in a timely manner. This is done routinely by entering a work order to Facilities Services, Utilities Services - Electrical Shop or Facilities Services, Health Sciences Campus, Electrical Shop.