## GENERAL

It is the responsibility of all Facilities Services to do their part toward East Carolina University’s commitment to energy conservation.  This FSSP establishes the irrigation schedule to be followed by Grounds Services.  This schedule applies to all irrigation pumps operated by Grounds Services that feed from the three (3) substations located on the Main Campus, near the athletic complex, and at the Health Sciences Campus.

This irrigation schedule is designed to decrease the electrical load during peak demand hours based on the analysis of load data provided by Greenville Utilities Commission.

### PROCEDURE

The routine operation of electrically operated irrigation pumps will not take place during the following timeframes on the weekdays:

#### A.	Main Campus					10:00 AM – 6:00 PM

##### B.	South Main Campus 				10:00 AM – 6:00 PM

including Athletics (area under scoreboard in Stadium, Stadium parking, Strength & Conditioning, along Ficklen Drive), Allied Health, and Intramural fields

#### C.	Health Sciences Campus				11:00 AM – 5:00 PM

D.	Although irrigation is minimal during the winter months, routine operation of electrically operated irrigation pumps will not take place on weekdays from 6:00 AM  - 10:00 AM on Main Campus, South Main Campus, and Health Sciences Campus.

Grounds Services is not responsible for the two Ficklen pumps, one under the Stadium that controls the game football field irrigation and one by the track/soccer field that controls irrigation on the baseball, softball, practice football, and track/soccer fields.   Athletics has full control over these pumps.

With the approval of the Assistant Director, Grounds Services, operation of the irrigation pumps may take place during the indicated timeframes to water following fertilization, perform tests or repairs on system, locate irrigation heads, etc.