- PURPOSE

The purpose of this FSSP is to document Grounds Services preparation before winter storm season and before a winter storm.

- PROCEDURES

  - Grounds Services shall perform the following activities in late November.

    - Put fuel in all gas cans.

    - Make sure ice melt and caution tape is on site or has been ordered.

    - Order sand.

    - Check that all necessary equipment including, but not limited to, snow shovels, chain saws, buckets, gloves, proper uniform outerwear, etc. is available for all crews.

    - Make sure that all push type broadcast spreaders are operational.

    - Check that all ice melt spray equipment for John Deere Gators is operational.

    - Review and check contact list for obtaining the operating hours of Health Sciences Campus clinic operations.

    - Review staffing requirements for Grounds Services and Automotive Services mechanics.

    - Review FSSP 34-0002 titled Snow/Ice Removal on Health Sciences Campus & West Research Campus.

    - Review FSSP 34-0010 titled Snow and Ice Falling from Buildings.

  - Grounds Services shall perform the following activities before every winter storm.

    - Fuel all equipment and trucks.

    - Put fuel in all gas cans.

    - Make sure ice melt and caution tape is on site.

    - Send trucks designated for plows to Automotive Services garage and have plow harness assemblies installed.

    - Attach plows to designated trucks and check for proper operation.

    - Check that all crews have necessary equipment including, but not limited to, snow shovels, chain saws, buckets, gloves, proper uniform outerwear, etc.

    - Install liquid ice melt spray tank on designated truck and check for proper operation.

    - Make sure that all push type broadcast spreaders are operational.

    - Check that all ice melt spray equipment for John Deere Gators is operational.

    - Load sand spreader on truck and make sure spreader is in good working condition. (Mechanics to check).

    - Obtain the operating hours of Health Sciences Campus clinic operations.

    - Ensure staffing requirements for Grounds Services and Automotive Services mechanics are covered.

  - A Preventative Maintenance Work Order will generate annually to Grounds Services in November to “perform grounds services preparation for winter storms per FSSP 34-0011.”